## mcc_master_20240515
TAG | Description | MCC_Floor | MCC_PNL | MCC_Position | MCC_Section | MCC_Space | Type | Breaker | Contactor | Overload | Motor_HP | Motor_FLA | Motor_PF | Motor_Efcy | AUX_IN | DSC_IN | ZZ_OUT
M1-RL2-029 | White flour surge hopper airlock retail line 2 | Bin Tower 2 | 3-NORTH |  | 3 |  | FVNR | [7 empty] | BL_R00:4:I.Data.10 | BL_R00:4:I.Data.11 | BL_R00:1:O.Data.5
M1-RL2-028 | White flour blower retail line 2 | Bin Tower 2 | 3-NORTH |  | 2 |  | FVNR | [7 empty] | BL_R00:5:I.Data.6 | BL_R00:5:I.Data.7 | BL_R00:1:O.Data.11
M1-FL-107 | Feed In Hole Sifter | Bin Tower 2 | 1-SOUTH | 4 | 1 | 2 | FVNR | [7 empty] | BL_R02:8:I.Data.13 | BL_R02:8:I.Data.12
| Spare | Bin Tower 2 | 1-NORTH | 1 | 1 | 2
| Spare | Bin Tower 2 | 1-NORTH | 3 | 1 | 2
| TX: MCC 1 PDP | Bin Tower 2 | 1-NORTH | 7 | 1 | 3 | MCCB
M1-FL-002 | Feed In Hole Blower | Bin Tower 2 | 1-SOUTH | 6 | 1 | 2 | FVNR | [7 empty] | BL_R02:7:I.Data.11 | BL_R02:7:I.Data.10 | BL_R02:2:O.Data.5
M1-RL2-023 | Filter socks timing arm retail line 2 | Bin Tower 2 | 2-SOUTH | 3 | 1 | 2 | FVNR | [7 empty] | BL_R00:8:I.Data.4 | BL_R00:8:I.Data.5 | BL_R00:7:O.Data.2
| Spare | Bin Tower 2 | 1-NORTH | 1 | 2 | 2
M1-ML-4066 | Sugar scale | Bin Tower 2 | 3-SOUTH |  | 7 |  | FVNR | [7 empty] | ML_R01:13:I.Data.4 ML_R03:13:I.Data.4 | ML_R01:13:I.Data.5 ML_R03:13:I.Data.5 | ML_R01:9:O.Data.2
M1-ML-0064 | Sugar blower | Bin Tower 2 | 3-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R01:13:I.Data.0 ML_R03:13:I.Data.0 | ML_R01:13:I.Data.1 ML_R03:13:I.Data.1 | ML_R01:9:O.Data.0 ML_R03:9:O.Data.0
M1-ML-1263 | Sugar bin sifter | Bin Tower 2 | 3-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R01:14:I.Data.0 ML_R03:14:I.Data.0 | ML_R01:14:I.Data.1 ML_R03:14:I.Data.1 | ML_R01:9:O.Data.10 ML_R03:9:O.Data.10
M1-ML-2267 | Sugar bin feeder | Bin Tower 2 | 3-SOUTH |  | 7 |  | FVNR | [7 empty] | ML_R01:14:I.Data.2 ML_R03:14:I.Data.2 | ML_R01:14:I.Data.3 ML_R03:14:I.Data.3 | ML_R01:9:O.Data.11 ML_R03:9:O.Data.11
M1-ML-5661 | Sugar bin fan | Bin Tower 2 | 3-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R01:14:I.Data.10 ML_R03:14:I.Data.10 | ML_R01:14:I.Data.11 ML_R03:14:I.Data.11 | ML_R01:10:O.Data.1 ML_R03:10:O.Data.1
M1-ML-0065 | Sugar airlock | Bin Tower 2 | 3-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R01:13:I.Data.2 ML_R03:13:I.Data.2 | ML_R01:13:I.Data.3 ML_R03:13:I.Data.3 | ML_R01:9:O.Data.1
M1-L-610 | basement transfer line leg | Bin Tower 2 | 1-NORTH | 3 | 2 | 2 | FVNR | [7 empty] | BL_R02:6:I.Data.2 | BL_R02:6:I.Data.3 | BL_R02:1:O.Data.9
M1-L-009 | Basement transfer line Incline Screw cnvr | Bin Tower 2 | 1-NORTH | 5 | 2 | 2 | FVNR | [7 empty] | BL_R02:6:I.Data.0 | BL_R02:6:I.Data.1 | BL_R02:1:O.Data.8
M1-L-208 | basement transfer line hrzntl screw cnvr | Bin Tower 2 | 1-NORTH | 7 | 2 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.14 | BL_R02:5:I.Data.15 | BL_R02:1:O.Data.7
M1-SL-003 | Specialty line sifter | Bin Tower 2 | 3-NORTH |  | 6 |  | FVNR | [7 empty] | BL_R00:5:I.Data.2 | BL_R00:5:I.Data.3 | BL_R00:1:O.Data.9
M1-FL-106 | Feed In Hole Airlock | Bin Tower 2 | 1-SOUTH | 8 | 1 | 2 | FVNR | [7 empty] | BL_R02:7:I.Data.3 | BL_R02:7:I.Data.2 | BL_R02:2:O.Data.1
M1-FL-105 | Feed In Hole screw conveyor | Bin Tower 2 | 1-SOUTH | 10 | 1 | 2 | FVNR | [7 empty] | BL_R02:7:I.Data.9 | BL_R02:7:I.Data.8 | BL_R02:2:O.Data.4
M1-RL2-021 | Backwash blower retail line 2 filter | Bin Tower 2 | 2-SOUTH | 5 | 1 | 2 | FVNR | [7 empty] | BL_R00:8:I.Data.6 | BL_R00:8:I.Data.7 | BL_R00:7:O.Data.3
M1-RL2-020 | Filter fan retail line 2 | Bin Tower 2 | 2-SOUTH | 7 | 1 | 2 | FVNR | [7 empty] | BL_R00:8:I.Data.8 | BL_R00:8:I.Data.9 | BL_R00:7:O.Data.4
M1-L-007 | Bin 6A Discharge Screw | Bin Tower 2 | 1-NORTH | 9 | 2 | 2 | FVNR | [7 empty] | BL_R02:4:I.Data.2 | BL_R02:4:I.Data.3 | BL_R02:0:O.Data.9
| Spare | Bin Tower 2 | 1-NORTH | 11 | 2 | 2
M1-RL2-013 | Retail line 2 impactor | Bin Tower 2 | 1-NORTH | 1 | 3 | 3 | FVNR | [7 empty] | BL_R02:8:I.Data.10 | BL_R02:8:I.Data.11 | BL_R02:2:O.Data.13
M1-L-004 | Bin 3B Discharge Screw | Bin Tower 2 | 1-NORTH | 4 | 3 | 2 | FVNR
M1-L-005 | Bin 4B Discharge Screw | Bin Tower 2 | 1-NORTH | 6 | 3 | 2 | FVNR
| Spare | Bin Tower 2 | 1-NORTH | 8 | 3 | 2
M1-ML-0113 | Flour sifter | Bin Tower 2 | 1-SOUTH | 3 | 2 | 2 | FVNR | [7 empty] | ML_R02:13:I.Data.4 | ML_R02:13:I.Data.5 | ML_R02:9:O.Data.2
M1-ML-1102 | Small bag tube conveyor | Bin Tower 2 | 3-NORTH |  | 3 |  | FVNR | [7 empty] | ML_R02:15:I.Data.2 | ML_R02:15:I.Data.3 | ML_R02:10:O.Data.5
M1-ML-1151 | Sifter conveyor bin 1A | Bin Tower 2 | 3-NORTH |  | 1 |  | FVNR
M1-ML2-0123 | Sifter 2 flour blower | Bin Tower 2 | 3-NORTH |  | 4 |  | FVNR | [7 empty] | ML_R04:10:I.Data.14 | ML_R04:10:I.Data.15 | ML_R04:5:O.Data.9
| Spare | Bin Tower 2 | 1-NORTH | 10 | 3 | 2
| Spare | Bin Tower 2 | 1-NORTH | 12 | 3 | 2
M1-RL1-013 | Retail line 1 impactor | Bin Tower 2 | 1-NORTH | 1 | 4 | 3 | FVNR | [7 empty] | BL_R02:7:I.Data.12 | BL_R02:7:I.Data.13 | BL_R02:2:O.Data.6
| Spare | Bin Tower 2 | 1-NORTH | 4 | 4 | 2
| Spare | Bin Tower 2 | 1-NORTH | 6 | 4 | 2
M1-ML-0012 | Flour sifter airlock | Bin Tower 2 | 1-SOUTH | 5 | 2 | 2 | FVNR | [7 empty] | ML_R02:13:I.Data.0 | ML_R02:13:I.Data.1 | ML_R02:9:O.Data.0
M1-RL2-024 | Retail line 2 sifter cyclone airlock | Bin Tower 2 | 3-NORTH |  | 3 |  | FVNR | [7 empty] | BL_R00:4:I.Data.2 | BL_R00:4:I.Data.3 | BL_R00:1:O.Data.1
M1-RL2-025 | Retail line 2 sifter | Bin Tower 2 | 3-NORTH |  | 3 |  | FVNR | [7 empty] | BL_R00:4:I.Data.8 | BL_R00:4:I.Data.9 | BL_R00:1:O.Data.4
| Spare | Bin Tower 2 | 1-NORTH | 8 | 4 | 2
M1-RL2-026 | Retail line 2 bin activator | Bin Tower 2 | 3-SOUTH |  | 6 |  | FVNR | [7 empty] | BL_R00:5:I.Data.8 | BL_R00:5:I.Data.9 | BL_R00:1:O.Data.12
| Spare | Bin Tower 2 | 1-NORTH | 10 | 4 | 2
M1-RL1-232 | Retail line 1 west staging bin discharge | Bin Tower 2 | 3-NORTH |  | 8 |  | FVNR | [7 empty] | BL_R12:4:I.Data.2 | BL_R12:4:I.Data.3 | BL_R12:5:O.Data.11
M1-RL1-740 | Retail line 1 sifter | Bin Tower 2 | 3-NORTH |  | 8 |  | FVNR | [7 empty] | BL_R12:4:I.Data.6 | BL_R12:4:I.Data.7 | BL_R12:5:O.Data.13
M1-L-126 | Leg 3 incline conv bridge to high conv | Bin Tower 2 | 1-NORTH | 12 | 4 | 2 | FVNR | [7 empty] | BL_R02:8:I.Data.6 | BL_R02:8:I.Data.7 | BL_R02:2:O.Data.11
M1-RL1-746 | Retail line 1 filter fan | Bin Tower 2 | 3-NORTH |  | 8 |  | FVNR | [7 empty] | BL_R12:4:I.Data.12 | BL_R12:4:I.Data.13 | BL_R12:7:O.Data.10
M1-RL1-744 | Retail line 1 filter airlock | Bin Tower 2 | 3-NORTH |  | 8 |  | FVNR | [7 empty] | BL_R12:4:I.Data.10 | BL_R12:4:I.Data.11 | BL_R12:7:O.Data.9
M1-RL1-130 | Retail line 1 feeder conveyor | Bin Tower 2 | 3-SOUTH |  | 1 |  | VFD
M1-RL1-012 | Retail line 1 feeder airlock | Bin Tower 2 | 3-SOUTH |  | 1 |  | FVNR | [7 empty] | BL_R12:2:I.Data.2 | BL_R12:2:I.Data.3 | BL_R12:3:O.Data.9
M1-RL1-233 | Retail line 1 east staging bin discharge | Bin Tower 2 | 3-NORTH |  | 8 |  | FVNR | [7 empty] | BL_R12:4:I.Data.4 | BL_R12:4:I.Data.5 | BL_R12:5:O.Data.12
M1-RL1-742 | Retail line 1 cyclone airlock | Bin Tower 2 | 3-NORTH |  | 8 |  | FVNR | [7 empty] | BL_R12:4:I.Data.8 | BL_R12:4:I.Data.9 | BL_R12:7:O.Data.8
M1-RL1-221 | Retail line 1 BMFP bin feeder | Bin Tower 2 | 3-NORTH |  | 7 |  | FVNR | [7 empty] | BL_R12:2:I.Data.8 | BL_R12:2:I.Data.9 | BL_R12:3:O.Data.12
M1-RL1-010 | Retail line 1 blower | Bin Tower 2 | 3-SOUTH |  | 1 |  | FVNR | [7 empty] | BL_R12:2:I.Data.0 | BL_R12:2:I.Data.1 | BL_R12:3:O.Data.8
M1-RL1-223 | Retail line 1 bin 2B feeder | Bin Tower 2 | 3-NORTH |  | 7 |  | FVNR
M1-RL1-018 | Retail line 1 bin 1C feeder | Bin Tower 2 | 3-NORTH |  |  |  | FVNR | [7 empty] | BL_R12:2:I.Data.4 | BL_R12:2:I.Data.5 | BL_R12:3:O.Data.10
M1-RL1-224 | Retail line 1 bin 1B feeder | Bin Tower 2 | 3-NORTH |  | 7 |  | FVNR | [7 empty] | BL_R12:2:I.Data.12 | BL_R12:2:I.Data.13 | BL_R12:5:O.Data.8
M1-FL-205 | Feed to mill line bin 008A discharge screw | Bin Tower 2 | 1-NORTH | 2 | 5 | 2 | FVNR | [7 empty] | BL_R00:2:I.Data.6 | BL_R00:2:I.Data.7 | BL_R00:0:O.Data.3
M1-FL-103 | Feed to mill mill screw | Bin Tower 2 | 1-NORTH | 6 | 5 | 2 | FVNR | [7 empty] | BL_R00:2:I.Data.2 | BL_R00:2:I.Data.3 | BL_R00:0:O.Data.1
M1-FL-104 | Feed to mill line bin 07A/07B discharge screw | Bin Tower 2 | 1-NORTH | 8 | 5 | 2 | FVNR | [7 empty] | BL_R00:2:I.Data.4 | BL_R00:2:I.Data.5 | BL_R00:0:O.Data.2
| Lab Roof AHU | Bin Tower 2 | 1-NORTH | 10 | 5 | 2 | MCCB
M1-ML-0019 | Sifter 1 flour blower | Bin Tower 2 | 1-SOUTH | 7 | 2 | 2 | FVNR | [7 empty] | ML_R02:13:I.Data.2 | ML_R02:13:I.Data.3 | ML_R02:9:O.Data.1
| Totes Forklift Charger Heater | Bin Tower 2 | 1-SOUTH | 9 | 2 | 2
M1-FL-003 | Feed In Hole Impactor | Bin Tower 2 | 1-SOUTH | 11 | 2 | 2 | FVNR | [7 empty] | BL_R02:4:I.Data.1 | BL_R02:4:I.Data.0 | BL_R02:0:O.Data.8
M1-ML1-2249 | Mixer 1 airlock | Bin Tower 2 | 4-SOUTH |  | 4 |  | FVNR | [7 empty] | ML_R02:14:I.Data.8 | ML_R02:14:I.Data.9 | ML_R02:4:O.Data.5
M1-ML2-2229 | Mix line 2 small ingred sifter | Bin Tower 2 | 3-NORTH |  | 5 |  | FVNR | [7 empty] | ML_R04:11:I.Data.8 | ML_R04:11:I.Data.9 | ML_R04:6:O.Data.0
M1-ML2-0131 | Mix line 2 small ingred blower | Bin Tower 2 | 3-NORTH |  | 5 |  | FVNR | [7 empty] | ML_R04:11:I.Data.2 | ML_R04:11:I.Data.3 | ML_R04:5:O.Data.11
M1-ML2-1130 | Mix line 2 small ingred above blower airlock | Bin Tower 2 | 3-NORTH |  | 5 |  | FVNR | [7 empty] | ML_R04:11:I.Data.0 | ML_R04:11:I.Data.1 | ML_R04:5:O.Data.10
| Oats Return System Shaker M12 | Bin Tower 2 | 1-SOUTH | 4 | 3 | 2
| Oats Return System Auger M13 | Bin Tower 2 | 1-SOUTH | 6 | 3 | 2
| Spare | Bin Tower 2 | 1-SOUTH | 8 | 4 | 2
M1-IL-111 | Indust line wht flour blower | Bin Tower 2 | 1-SOUTH | 8 | 3 | 5 | FVNR | [7 empty] | BL_R02:6:I.Data.4 | BL_R02:6:I.Data.5 | BL_R02:1:O.Data.10
M1-RL2-022 | Conveyor/airlock retail line 2 filter | Bin Tower 2 | 2-SOUTH | 9 | 1 | 2 | FVNR | [7 empty] | BL_R00:8:I.Data.10 | BL_R00:8:I.Data.11 | BL_R00:7:O.Data.5
M1-L-209 | Bin 07A discharge screw | Bin Tower 2 | 1-SOUTH | 6 | 4 | 2 | FVNR
M1-ML2-2228 | Line 2 small ingred hopper airlock | Bin Tower 2 | 3-NORTH |  | 5 |  | FVNR | [7 empty] | ML_R04:11:I.Data.6 | ML_R04:11:I.Data.7 | ML_R04:5:O.Data.13
M1-IL-112 | Indust line wht flour airlock | Bin Tower 2 | 1-SOUTH | 10 | 4 | 2 | FVNR | [7 empty] | BL_R02:6:I.Data.6 | BL_R02:6:I.Data.7 | BL_R02:1:O.Data.11
M1-ML2-1121 | Line 2 flour sifter | Bin Tower 2 | 3-NORTH |  | 4 |  | FVNR | [7 empty] | ML_R04:10:I.Data.12 | ML_R04:10:I.Data.13 | ML_R04:5:O.Data.8
M1-ML2-0022 | Line 2 flour airlock | Bin Tower 2 | 3-NORTH |  | 4 |  | FVNR | [7 empty] | ML_R04:10:I.Data.0 | ML_R04:10:I.Data.1 | ML_R04:5:O.Data.0
M1-IL-611 | Indust line AOW airlock | Bin Tower 2 | 1-SOUTH | 12 | 4 | 2 | FVNR | [7 empty] | BL_R02:8:I.Data.4 | BL_R02:8:I.Data.5 | BL_R02:2:O.Data.10
| Outside Lard Pump LB4 | Bin Tower 2 | 2-SOUTH | 11 | 1 | 2
| Oat Return System Blower | Bin Tower 2 | 1-SOUTH | 4 | 5 | 2
| Oat Return System Feeder Airlock | Bin Tower 2 | 1-SOUTH | 6 | 5 | 2
M1-RL2-027 | Infeed conveyor to pack hopper retail line 2 | Bin Tower 2 | 3-NORTH |  | 6 |  | FVNR
| Oat Return System Corn Meal Airlock | Bin Tower 2 | 1-SOUTH | 8 | 5 | 2
M1-L-120 | Main warehouse Vacuum System | Bin Tower 2 | 1-SOUTH | 10 | 5 | 2 | FVNR | [7 empty] | BL_R00:9:I.Data.0 |  | BL_R00:6:O.Data.0 BL_R00:6:O.Data.1
M1-IL-404 | Indust line wht flour impactor | Bin Tower 2 | 4-NORTH |  | 2 |  | FVNR | [7 empty] | BL_R02:8:I.Data.8 | BL_R02:8:I.Data.9 | BL_R02:2:O.Data.12
| Spare | Bin Tower 2 | 1-SOUTH | 12 | 5 | 2 | FVNR
M1-L-002 | Bin 04A discharge screw VFD | Bin Tower 2 | 1-SOUTH | 8 | 6 | 2 | VFD
M1-L-003 | Bin 05A discharge screw | Bin Tower 2 | 1-SOUTH | 10 | 6 | 2 | FVNR
M1-L-006 | Bin 05B discharge screw | Bin Tower 2 | 1-SOUTH | 12 | 6 | 2 | FVNR
| SGF Short Conv VFD C26 | Bin Tower 2 | 2-SOUTH | 3 | 2 | 2 | MCCB
Spare |  | Bin Tower 2 | 2-SOUTH | 5 | 2 | 2
M1-IL-602 | Indust line wht flour leg | Bin Tower 2 | 1-SOUTH | 3 | 7 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.2 | BL_R02:5:I.Data.3 | BL_R02:1:O.Data.1
M1-ML-0171 | Shortening Pump | Bin Tower 2 | 2-SOUTH | 7 | 2 | 2 | FVNR | [7 empty] | ML_R01:13:I.Data.6 ML_R03:13:I.Data.6 | ML_R01:13:I.Data.7 ML_R03:13:I.Data.7 | ML_R01:9:O.Data.3 ML_R03:9:O.Data.3
M1-IL-403 | Indust line wht flour sifter | Bin Tower 2 | 1-SOUTH | 5 | 7 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.4 | BL_R02:5:I.Data.5 | BL_R02:1:O.Data.2
M1-ML-0173 | Lower shortenings agitator | Bin Tower 2 | 2-SOUTH | 9 | 2 | 2 | FVNR | [7 empty] | ML_R01:13:I.Data.10 ML_R03:13:I.Data.10 | ML_R01:13:I.Data.11 ML_R03:13:I.Data.11 | ML_R01:9:O.Data.5 ML_R03:9:O.Data.5
M1-IL-001 | Indust line wht flour hrzntl & incline screw cnvyr | Bin Tower 2 | 1-SOUTH | 7 | 7 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.0 | BL_R02:5:I.Data.1 | BL_R02:1:O.Data.0
M1-ML-0172 | Upper shortenings agitator | Bin Tower 2 | 2-SOUTH | 11 | 2 | 2 | FVNR | [7 empty] | ML_R01:13:I.Data.8 ML_R03:13:I.Data.8 | ML_R01:13:I.Data.9 ML_R03:13:I.Data.9 | ML_R01:9:O.Data.4
M1-L-008 | Bin 06B discharge screw | Bin Tower 2 | 1-SOUTH | 9 | 7 | 2 | FVNR
M1-L-210 | Bin 07B discharge screw | Bin Tower 2 | 1-SOUTH | 11 | 7 | 2 | FVNR
Spare |  | Bin Tower 2 | 2-SOUTH | 3 | 3 | 2
M1-L-114 | Filter fan 1c-2c-3c | Bin Tower 2 | 3-NORTH |  | 1 |  | FVNR | [7 empty] | BL_R00:5:I.Data.10 | BL_R00:5:I.Data.11 | BL_R00:1:O.Data.13
M1-ML-4234 | Filter Fan | Bin Tower 2 | 3-NORTH |  | 4 |  | FVNR | [7 empty] | ML_R01:14:I.Data.4 ML_R03:14:I.Data.4 | ML_R01:14:I.Data.5 ML_R03:14:I.Data.5 | ML_R01:9:O.Data.12 ML_R03:9:O.Data.12
M1-ML-2325 | Filter conveyor | Bin Tower 2 | 3-NORTH |  | 5 |  | FVNR | [7 empty] | ML_R01:14:I.Data.6 ML_R03:14:I.Data.6 | ML_R01:14:I.Data.7 ML_R03:14:I.Data.7 | ML_R01:9:O.Data.13 ML_R03:9:O.Data.13
M1-ML-2327 | filter airlock | Bin Tower 2 | 3-NORTH |  | 5 |  | FVNR | [7 empty] | ML_R01:14:I.Data.8 ML_R03:14:I.Data.8 | ML_R01:14:I.Data.9 ML_R03:14:I.Data.9 | ML_R01:10:O.Data.0 ML_R03:10:O.Data.0
M1-RL2-003 | Reatil line 2 Aow airlock | Bin Tower 2 | 2-SOUTH | 5 | 3 | 2 | FVNR | [7 empty] | BL_R02:6:I.Data.12 | BL_R02:6:I.Data.13 | BL_R02:1:O.Data.14
MCC |  | Bin Tower 2 | 1-SOUTH |  | 8 | 14
M1-RL-001 | Vacuum pump retail flour recycle system | Bin Tower 2 | 2-NORTH |  | 3 |  | FVNR
M1-ML1-2243 | Turbolizer | Bin Tower 2 | 2-NORTH |  | 1 |  | FVNR | [7 empty] | ML_R02:14:I.Data.0 | ML_R02:14:I.Data.1 | ML_R02:9:O.Data.10
M1-FL-102 | Feed to mill line airlock | Bin Tower 2 | 3-SOUTH |  | 5 |  | FVNR
M1-ML2-0108 | Turbolizer | Bin Tower 2 | 2-NORTH |  | 8 |  | FVNR | [7 empty] | ML_R04:10:I.Data.6 | ML_R04:10:I.Data.7 | ML_R04:5:O.Data.3
M1-SL-004 | Specialty line blower | Bin Tower 2 | 2-NORTH |  | 4 |  | FVNR | [7 empty] | BL_R00:8:I.Data.0 | BL_R00:8:I.Data.1 | BL_R00:7:O.Data.0
M1-SL-005 | Specialty line airlock | Bin Tower 2 | 2-NORTH |  | 4 |  | FVNR | [7 empty] | BL_R00:5:I.Data.14 | BL_R00:5:I.Data.15 | BL_R00:1:O.Data.15
M1-SL-001 | Specialty bin 00A vibrator cone | Bin Tower 2 | 2-NORTH |  | 4 |  | FVNR | [7 empty] | BL_R00:5:I.Data.12 | BL_R00:5:I.Data.13 | BL_R00:1:O.Data.14
M1-SL-002 | Specialty bin 00A short conveyor | Bin Tower 2 | 2-NORTH |  | 4 |  | VFD
M1-ML-0175 | Soya Pump | Bin Tower 2 | 2-NORTH |  | 6 |  | FVNR | [7 empty] | ML_R01:13:I.Data.12 ML_R03:13:I.Data.12 | ML_R01:13:I.Data.13 ML_R03:13:I.Data.13 | ML_R01:9:O.Data.8 ML_R03:9:O.Data.8
M1-ML2-0110 | Screw feeder | Bin Tower 2 | 2-NORTH |  | 6 |  | FVNR | [7 empty] | ML_R04:10:I.Data.8 | ML_R04:10:I.Data.9 | ML_R04:5:O.Data.4
M1-ML1-2247 | Mix line 1 small ingred sifter | Bin Tower 2 | 2-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R02:14:I.Data.4 | ML_R02:14:I.Data.5 | ML_R02:9:O.Data.12
M1-ML1-2245 | Mix line 1 small ingred airlock | Bin Tower 2 | 2-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R02:14:I.Data.2 | ML_R02:14:I.Data.3 | ML_R02:9:O.Data.11 ML_R02:10:O.Data.4
M1-ML2-0105 | Mix blower | Bin Tower 2 | 2-NORTH |  | 8 |  | FVNR | [7 empty] | ML_R04:10:I.Data.2 | ML_R04:10:I.Data.3 | ML_R04:5:O.Data.1
M1-ML2-0106 | Mix airlock | Bin Tower 2 | 2-NORTH |  | 7 |  | FVNR | [7 empty] | ML_R04:10:I.Data.4 | ML_R04:10:I.Data.5 | ML_R04:5:O.Data.2
M1-ML2-2209 | Line 2 mixer | Bin Tower 2 | 2-NORTH |  | 8 |  | FVNR | [7 empty] | ML_R04:11:I.Data.4 ML_R04:12:I.Data.8 | ML_R04:11:I.Data.5 | ML_R04:5:O.Data.12 ML_R04:6:O.Data.10
M1-L-214 | CGF Discharge Screw | Bin Tower 2 | 4-SOUTH |  | 3 |  | FVNR
M1-ML1-2248 | Line 1 small ingred hopper airlock | Bin Tower 2 | 2-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R02:14:I.Data.6 | ML_R02:14:I.Data.7 | ML_R02:9:O.Data.13
M1-BL-104 | Bulk sifter to tote packer | Bin Tower 2 | 3-SOUTH |  | 7 |  | FVNR | [7 empty] | BL_R00:5:I.Data.0 | BL_R00:5:I.Data.1 | BL_R00:1:O.Data.8
M1-BL-002 | Bulk delivery airlock | Bin Tower 2 | 3-SOUTH |  | 2 |  | FVNR | 15 | 32 | B_07 | 5 | 4.6 | 0.7 | 0.85 | BL_R02:7:I.Data.14 | BL_R02:7:I.Data.15 | BL_R02:2:O.Data.7
M1-BL-103 | Bulk blower | Bin Tower 2 | 3-SOUTH |  | 2 |  | FVNR | [7 empty] | BL_R02:8:I.Data.0 | BL_R02:8:I.Data.1 | BL_R02:2:O.Data.8
M1-ML1-4344 | Line 1 mixer | Bin Tower 2 | 2-NORTH |  | 2 |  | FVNR | [7 empty] | ML_R02:14:I.Data.10 ML_R02:14:I.Data.12 | ML_R02:14:I.Data.11 | ML_R02:10:O.Data.1 ML_R02:10:O.Data.2
M1-ML2-0304 | Dry filter airlock | Bin Tower 2 | 2-NORTH |  | 7 |  | FVNR | [7 empty] | ML_R04:12:I.Data.4 | ML_R04:12:I.Data.5 | ML_R04:6:O.Data.8
M1-ML-2218 | Bin E feeder | Bin Tower 2 | 2-NORTH |  | 3 |  | FVNR | [7 empty] | ML_R02:13:I.Data.14 | ML_R02:13:I.Data.15 | ML_R02:9:O.Data.9
MCC |  | Bin Tower 2 | 2-NORTH |  | 8 | 12
M1-RL2-002 | Retail line 2 AOW blower | Bin Tower 2 | 2-SOUTH | 7 | 3 | 4 | FVNR | [7 empty] | BL_R02:6:I.Data.10 | BL_R02:6:I.Data.11 | BL_R02:1:O.Data.13
| TX: WHSE MCC 2 PDP | Bin Tower 2 | 2-SOUTH | 11 | 3 | 3
Spare |  | Bin Tower 2 | 2-SOUTH | 4 | 4 | 2
M1-L-115 | Filter fan main warehouse | Bin Tower 2 | 2-SOUTH | 7 | 4 | 2 | FVNR | [7 empty] | BL_R00:8:I.Data.12 | BL_R00:8:I.Data.13 | BL_R00:7:O.Data.6
M1-ML2-1120 | Bin 3A screw conveyor | Bin Tower 2 | 3-NORTH |  | 4 |  | FVNR | [7 empty] | ML_R04:10:I.Data.10 | ML_R04:10:I.Data.11 | ML_R04:5:O.Data.5
M1-L-016 | Bin 2C discharge screw VFD | Bin Tower 2 | 3-SOUTH |  | 5 |  | VFD
M1-L-116 | conveyor/airlock main warehouse filter | Bin Tower 2 | 2-SOUTH | 11 | 4 | 2 | FVNR | [7 empty] | BL_R00:4:I.Data.14 | BL_R00:4:I.Data.15 | BL_R00:1:O.Data.7
M1-L-117 | Backwash blower main whse & bridge filter | Bin Tower 2 | 2-SOUTH | 9 | 4 | 2 | FVNR | [7 empty] | BL_R00:8:I.Data.14 | BL_R00:8:I.Data.15 | BL_R00:7:O.Data.7
Spare |  | Bin Tower 2 | 2-SOUTH | 3 | 5 | 2
M1-ML-2217 | Bin D feeder | Bin Tower 2 | 2-SOUTH | 11 | 5 | 2 | FVNR | [7 empty] | ML_R02:13:I.Data.12 | ML_R02:13:I.Data.13 | ML_R02:9:O.Data.8
M1-ML-2216 | Bin c feeder | Bin Tower 2 | 2-SOUTH | 9 | 5 | 2 | FVNR | [7 empty] | ML_R02:13:I.Data.10 | ML_R02:13:I.Data.11 | ML_R02:9:O.Data.5
M1-ML-2215 | Bin B feeder | Bin Tower 2 | 2-SOUTH | 7 | 5 | 2 | FVNR | [7 empty] | ML_R02:13:I.Data.8 | ML_R02:13:I.Data.9 | ML_R02:9:O.Data.4
M1-ML-2214 | Bin A feeder | Bin Tower 2 | 2-SOUTH | 5 | 5 | 2 | FVNR | [7 empty] | ML_R01:13:I.Data.14 ML_R03:13:I.Data.14 | ML_R01:13:I.Data.15 ML_R03:13:I.Data.15 | ML_R01:9:O.Data.9 ML_R03:9:O.Data.9
M1-L-123 | Spill/transfer leg same shaft motor | Bin Tower 2 | 2-SOUTH | 3 | 6 | 2 | FVNR | [7 empty] | BL_R00:2:I.Data.10 | BL_R00:2:I.Data.11 | BL_R00:0:O.Data.5
M1-L-113 | Bin 03C vibra screw | Bin Tower 2 | 3-SOUTH |  | 8 |  | FVNR | [7 empty] | BL_R02:3:I.Data.4 | BL_R02:3:I.Data.5 | BL_R02:0:O.Data.2
M1-L-017 | Bin 03c discharge screw VFD | Bin Tower 2 | 3-SOUTH |  | 6 |  | VFD
M1-L-112 | Bin 02C vibra screw | Bin Tower 2 | 3-SOUTH |  | 8 |  | FVNR | [7 empty] | BL_R02:3:I.Data.2 | BL_R02:3:I.Data.3 | BL_R02:0:O.Data.1
M1-L-111 | Bin 01C vibra screw | Bin Tower 2 | 3-SOUTH |  | 8 |  | FVNR | [7 empty] | BL_R02:3:I.Data.0 | BL_R02:3:I.Data.1 | BL_R02:0:O.Data.0
M1-L-014 | Bin 01C discharge screw VFD | Bin Tower 2 | 3-SOUTH |  | 6 |  | VFD
M1-L-121 | Spill conveyor basement | Bin Tower 2 | 2-SOUTH | 9 | 6 | 2 | FVNR | [7 empty] | BL_R00:2:I.Data.14 | BL_R00:2:I.Data.15 | BL_R00:0:O.Data.7
M1-L-124 | Spill bridge conveyor | Bin Tower 2 | 2-SOUTH | 5 | 6 | 2 | FVNR | [7 empty] | BL_R00:3:I.Data.2 | BL_R00:3:I.Data.3 | BL_R00:0:O.Data.8
M1-IL-110 | Indust line filter exchange recovery airlock | Bin Tower 2 | 2-SOUTH | 11 | 6 | 2 | FVNR | [7 empty] | BL_R02:6:I.Data.14 | BL_R02:6:I.Data.15 | BL_R02:1:O.Data.15
M1-L-122 | Cross spill conveyor basement | Bin Tower 2 | 2-SOUTH | 7 | 6 | 2 | FVNR | [7 empty] | BL_R00:3:I.Data.0 | BL_R00:3:I.Data.1 | BL_R00:0:O.Data.9
| 2nd Break Exchange Blower (Basement) | Bin Tower 2 | 2-SOUTH | 3 | 7 | 2 | FVNR
M1-L-130 | 3C Incline conveyor | Bin Tower 2 | 3-NORTH |  | 1 |  | FVNR | [7 empty] | BL_R00:4:I.Data.12 | BL_R00:4:I.Data.13 | BL_R00:1:O.Data.6
| 2nd Break Exchange Airlock (Basement) | Bin Tower 2 | 2-SOUTH | 5 | 7 | 2 | FVNR
| 2nd Break Exchange Screw Conv (No Mans Land) | Bin Tower 2 | 2-SOUTH | 7 | 7 | 2 | FVNR
| 2nd Break Exchange Feeder Plug (Back End) | Bin Tower 2 | 2-SOUTH | 9 | 7 | 2 | FVNR
| Compressor Room Oil Cooler South Exhaust Fan | Bin Tower 2 | 2-SOUTH | 11 | 7 | 2 | FVNR
M1-L-129 | 2C Incline conveyor | Bin Tower 2 | 3-NORTH |  | 1 |  | FVNR | [7 empty] | BL_R00:4:I.Data.0 | BL_R00:4:I.Data.1 | BL_R00:1:O.Data.0
M1-RL2-031 | 2C bin bottom feeder | Bin Tower 2 | 3-NORTH |  | 2 |  | FVNR | [7 empty] | BL_R00:4:I.Data.6 | BL_R00:4:I.Data.7 | BL_R00:1:O.Data.3
M1-L-128 | 1C Incline conveyor | Bin Tower 2 | 3-NORTH |  | 1 |  | FVNR | [7 empty] | BL_R00:4:I.Data.4 | BL_R00:4:I.Data.5 | BL_R00:1:O.Data.2
M1-RL2-030 | 1C bin bottom feeder | Bin Tower 2 | 3-NORTH |  | 3 |  | FVNR | [7 empty] | BL_R00:5:I.Data.4 | BL_R00:5:I.Data.5 | BL_R00:1:O.Data.10
MCC |  | Bin Tower 2 | 1-NORTH |  | 8 | 14
| Compressor room exhaust fan | Bin Tower 2 | 2-SOUTH | 5 | 8 | 2 | FVNR
| Compressor Room Oil Cooler North Eaxhaust Fan | Bin Tower 2 | 2-SOUTH | 11 | 8 | 2 | FVNR
MCC |  | Bin Tower 2 | 3-NORTH |  | 8 | 12
MCC |  | Bin Tower 2 | 3-SOUTH |  | 8 | 12
MCC |  | Bin Tower 2 | 4-NORTH |  | 8 | 12
MCC |  | Bin Tower 2 | 4-SOUTH |  | 8 | 12
M1-ML2-2251 | Bin 2A feeder | Bin Tower 2 | 2-SOUTH | 9 | 8 | 2 | FVNR | [7 empty] | ML_R04:11:I.Data.14 | ML_R04:11:I.Data.15 | ML_R04:6:O.Data.3
M1-FL-001 | Feed to mill line blower | Bin Tower 2 | 1-NORTH | 2 | 6 | 2 | FVNR | [7 empty] | BL_R00:2:I.Data.0 | BL_R00:2:I.Data.1 | BL_R00:0:O.Data.0
M1-L-131 | High conveyor Bridge | Bin Tower 2 | 1-NORTH | 4 | 6 | 2 | FVNR
| Cage Lift Motor | Bin Tower 2 | 1-NORTH | 10 | 6 | 2 | MCCB
| TX: MCC 1 West Panel | Bin Tower 2 | 1-NORTH | 12 | 6 | 2 | MCCB
| Oats Packing Trailer Door Disconnect | Bin Tower 2 | 1-NORTH | 11 | 7 | 2 | MCCB
M1-IL-004 | Indust line AOW hrzntl screw cnvr | Bin Tower 2 | 1-NORTH | 2 | 8 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.6 | BL_R02:5:I.Data.7 | BL_R02:1:O.Data.3
M1-IL-008 | Indust line AOW incline screw cnvr | Bin Tower 2 | 1-NORTH | 4 | 8 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.8 | BL_R02:5:I.Data.9 | BL_R02:1:O.Data.4
M1-IL-609 | Indust line AOW flour leg | Bin Tower 2 | 1-NORTH | 6 | 8 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.10 | BL_R02:5:I.Data.11 | BL_R02:1:O.Data.5
M1-IL-510 | Indust line AOW sifter | Bin Tower 2 | 1-NORTH | 8 | 8 | 2 | FVNR | [7 empty] | BL_R02:5:I.Data.12 | BL_R02:5:I.Data.13 | BL_R02:1:O.Data.6
| SGFF Blower | Bin Tower 2 | 1-NORTH | 10 | 8 | 2 | FVNR
| SGFF Airlock | Bin Tower 2 | 1-NORTH | 12 | 8 | 2 | FVNR
| Spare | Bin Tower 2 | 1-NORTH | 12 | 5 | 2
| Spare | Bin Tower 2 | 1-NORTH | 12 | 1 | 2
| Spare | Bin Tower 2 | 1-NORTH | 1 | 7 | 2
| Spare | Bin Tower 2 | 1-NORTH | 3 | 7 | 2
| Spare | Bin Tower 2 | 1-NORTH | 5 | 7 | 2
| Spare | Bin Tower 2 | 1-NORTH | 7 | 7 | 2
| Spare | Bin Tower 2 | 1-NORTH | 9 | 7 | 2
| Damaged Bus | Bin Tower 2 | 1-SOUTH | 3 | 8 | 11
| Oats Fork Lift Charger | Bin Tower 2 | 1-SOUTH | 12 | 1 | 1
| Oats Packing Heater | Bin Tower 2 | 1-SOUTH | 13 | 1 | 1
M1-ML2-2250 | Bin 1A feeder | Bin Tower 2 | 2-SOUTH | 7 | 8 | 2 | FVNR | [7 empty] | ML_R01:14:I.Data.12 ML_R03:14:I.Data.12 | ML_R01:14:I.Data.13 ML_R03:14:I.Data.13 | ML_R01:10:O.Data.2 ML_R03:10:O.Data.2
MCC |  | Bin Tower 2 | 2-SOUTH |  | 8 | 14
M1-AM-0644 | A Mill Sifter Lineshaft | Bin Tower 2 | 2-SOUTH | 1 | 1 | 2
M1-AM-0644 | A Mill Sifter Lineshaft | Bin Tower 2 | 2-SOUTH | 1 | 2 | 2
M1-AM-0644 | A Mill Sifter Lineshaft | Bin Tower 2 | 2-SOUTH | 1 | 3 | 2
M1-AM-0644 | A Mill Sifter Lineshaft | Bin Tower 2 | 4-SOUTH | 1 | 3 | 2